## Slide 1
Created By : Ayush Sahane (a1984073)
Tumor Trace - Brain Tumor Detection System

## Slide 2
THE PROBLEM!
330K+
New Brain Tumor Cases Diagnose Globally Per Year.
Early detection = 2x
survival improvement

## Slide 3
Automate brain tumor detection using CNN.
Achieve >= 95% accuracy
Minimize false positive/negatives.
Provide simple clinical User Interface (UI)
Automation
Accuracy
Minimization
User Interface
OBJECTIVES

## Slide 4
MRI brain scans collected from Kaggle medical imaging datasets.
Binary classification: Tumor vs No Tumor
Preprocessing pipeline ensures consistent input quality.
Tools used: TensorFlow, Keras, OpenCV, Streamlit
Dataset & Tools

## Slide 5
Converts MRI scans to consistent 50x50 resolution.
Apply Gaussian filtering for noise reduction.
Normalize pixel values to stabilize training.
Crop brain region using contour detection.
Remove background artifacts for cleaner input
Preprocessing

## Slide 6
Data-Flow Diagram

## Slide 7
System Architecture

## Slide 8
System Workflow

## Slide 9
CNN Architecture (Layer Table)

## Slide 10
Loss: Binary Cross-Entropy.
Optimizer: Adam/ AdamW (Adaptive learning).
Regularization: Dropout + L2.
Early Stopping prevents overfitting.
Learning Rate Scheduling improves convergence.
Metrics: Accuracy, Precision, Recall, F1, AUC
Training Setup

## Slide 11
Baseline CNN: 2 Conv + MaxPool + Dense: Minimal regularization. Faster to train but more prone to overfitting.
Improved CNN: Deeper layers + dropout + regularization: Better feature extraction across tumor scales. Lower generalization error.
Impact of improvement: More stable confidence. Fewer false negatives. Safer for clinical triage.
Baseline vs Improved CNN

## Slide 12
Validation Metrics (Results)

## Slide 13
Analysis & Discussion
Recall = 0.98 → very low false negatives.
Precision = 0.99 → few false positives.
AUC = 1.0 → strong class separation. Results suitable for clinical triage support. More diverse datasets needed for generalization.

## Slide 14
Uses only 2D MRI slices (not volumetric 3D scans).
Dataset size is limited, with restricted diversity.
No patient metadata (age, history, scan type).
Not clinically validated across hospitals.
Performance may drop on unseen scanners.
Limitations

## Slide 15
Transfer learning with ResNet / EfficientNet.
Integrate multi‑modal MRI (T1, T2, FLAIR).
Add Grad‑CAM visual explanations.
Cloud deployment for rural diagnostics.
Automated tumor segmentation and size estimation.
Future Scope

## Slide 16
Live Demo!

## Slide 17
In conclusion, the Brain Tumor Detection System demonstrates that a lightweight CNN can deliver 99% accuracy on validation MRI scans while remaining practical for real‑time use. By combining careful preprocessing, an efficient architecture, and a user‑friendly Streamlit interface, the system reduces diagnostic delay and supports more consistent decision‑making. The strong validation metrics highlight the model’s reliability, and the modular design makes it ready for future expansion with larger datasets, explainable AI, and multi‑modal imaging. Overall, this work provides a solid foundation for AI‑assisted neuro‑diagnostics and a clear pathway toward clinical deployment.
CONCLUSION
“Every Delayed Diagnosis Is a Life At Risk Tumor Trace Aims To Ensure No Tumor Goes Undetected - Anywhere In The World”

## Slide 18
Thank You For Your Attention